## (Variants)
|  | Description | Source File Relative Path | TargetDirectory
Preflight |  | Preflight | Preflight | .
Templates
|  | Template ID | Over Zones named …
| tp | General simulation parameters
| tp | Global Geometry Rules
| tp | Run period, annual
| tp | Preflight simulation control
| tp | Building and location
| tp | Ground temperatures
| tp | Basic sizing parameters
| tp | Default constructions
| tp | HVAC Ideal loads | .
| tp | Zone operative temperatures
| tp | Generic people | .
| tp | Generic lights | .
| tp | Generic electric equipment | .
| tp | Generic infiltration | .
Changes
|  | In this class | With this name | this attribute | becomes
| ch | ^Building$ | . | Name | Test
| ch | ^Building$ | . | Solar Distribution | FullExterior
| ch | ^SimulationControl$ | . | Run Simulation for Weather File Run Periods | No
| ch | RunPeriod | . | Begin Month | 1
| ch | RunPeriod | . | End Month | 12
| ch | ZoneInfiltration:DesignFlowRate | . | Air Changes per Hour | 0.5
END
Don't edit this!

## (GlobalSettings)
Run control
Project:
Structure revision:
Created by | Marcus Jones
Date:
Set global parameters here
| This root directory | C:\Freelance\096_AlBateen
| Baseline model file | C:\Freelance\096_AlBateen\IDF\Baseline.idf |  | \IDF\Baseline.idf
| Design model file | C:\Freelance\096_AlBateen\IDF\Proposed.idf |  | \IDF\Proposed.idf
^SimulationControl$ | Weather File Run Periods | Yes
^Building$ | Solar Distribution | FullExterior
RunPeriod | Begin Month | 1
RunPeriod | End Month | 12
^Building$ | Solar Distribution | FullExterior
^Building$ | 0 North Axis | #REF!
^Building$ | 90 North Axis | #REF!
^Building$ | 180 North Axis | #REF!
^Building$ | 270 North Axis | #REF!
Baseline vs. Proposed
| Baseline | Proposed
Walls Massless R | #REF! | #REF!
Roof Massless R | #REF! | #REF!
Window U | #REF! | 1.92 | [6 empty] | 2.9 | 3.5
Window SHGC | 0.25 | 0.33
Air Change | 0.5 | 0.5
Lighting W/m2 | #REF! | #REF!
Nominal COP | #REF! | #REF!
Heating size | 1.15 | 1
Cooling size | 1.15 | 1
U - Values worksheet
|  |  | Target |  | Film | Remainder | Massive layer |  |  | Massles layer
|  |  | U | R | R | R | t | k | R | R
|  |  | W/m2.K | m2.K/W | m2.k/W | m2.K/W | m | W/k.m2 | m2.K/W | m2.K/W
Baseline |  | Walls | #REF! | #REF! | 0.14 | #REF! | 0.3 | 0.5 | 0.6 | #REF!
|  | Roof | #REF! | #REF! | 0.13 | #REF! | 0.3 | 0.5 | 0.6 | #REF!
|  | Floor | 1.264 | 0.79114 |  | 0.79114 | 0.3 | 0.5 | 0.6 | 0.19114
Design |  | Walls | #REF! | #REF! | 0.14 | #REF! | 0.3 | 0.5 | 0.6 | #REF!
|  | Roof | #REF! | #REF! | 0.13 | #REF! | 0.3 | 0.5 | 0.6 | #REF!
|  | Floor | 1.264 | 0.79114 |  | 0.79114 | 0.3 | 0.5 | 0.6 | 0.19114
COP Worksheet
SCOP
Nominal COP
Don't edit this!