## DATABASE
key | section | table | units | Baseline | Baseline2 | Baseline3 | Baseline4 | Proposed
Annual Building Utility Performance Summary Total Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Site Energy | Total Energy *[MWh] | 1091.0676 | 1089.5388 | 1089.1514 | 1086.995 | 804.787
Annual Building Utility Performance Summary Total Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Total Building Area [kWh/m2] | 283.43 | 283.03 | 282.93 | 282.37 | 209.06
Annual Building Utility Performance Summary Total Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 327.54 | 327.08 | 326.97 | 326.32 | 242.26
Annual Building Utility Performance Summary Net Site Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Site Energy | Total Energy *[MWh] | 1091.0676 | 1089.5388 | 1089.1514 | 1086.995 | 804.787
Annual Building Utility Performance Summary Net Site Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Total Building Area [kWh/m2] | 283.43 | 283.03 | 282.93 | 282.37 | 209.06
Annual Building Utility Performance Summary Net Site Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Site Energy | Energy Per Conditioned Building Area [kWh/m2] | 327.54 | 327.08 | 326.97 | 326.32 | 242.26
Annual Building Utility Performance Summary Total Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Total Source Energy | Total Energy *[MWh] | 2834.6564 | 2830.1087 | 2832.9785 | 2826.1874 | 2143.2617
Annual Building Utility Performance Summary Total Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Total Building Area [kWh/m2] | 736.36 | 735.18 | 735.92 | 734.16 | 556.75
Annual Building Utility Performance Summary Total Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Total Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 850.97 | 849.6 | 850.47 | 848.43 | 645.18
Annual Building Utility Performance Summary Net Source Energy Total Energy [kWh] | Annual Building Utility Performance Summary | Net Source Energy | Total Energy *[MWh] | 2834.6564 | 2830.1087 | 2832.9785 | 2826.1874 | 2143.2617
Annual Building Utility Performance Summary Net Source Energy Energy Per Total Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Total Building Area [kWh/m2] | 736.36 | 735.18 | 735.92 | 734.16 | 556.75
Annual Building Utility Performance Summary Net Source Energy Energy Per Conditioned Building Area [kWh/m2] | Annual Building Utility Performance Summary | Net Source Energy | Energy Per Conditioned Building Area [kWh/m2] | 850.97 | 849.6 | 850.47 | 848.43 | 645.18
Input Verification and Results Summary Program Version and Build Value | Input Verification and Results Summary | Program Version and Build | Value | EnergyPlus-Windows-64 8.1.0.008, YMD=2014.03.28 17:54 | EnergyPlus-Windows-64 8.1.0.008, YMD=2014.03.28 17:54 | EnergyPlus-Windows-64 8.1.0.008, YMD=2014.03.28 17:54 | EnergyPlus-Windows-64 8.1.0.008, YMD=2014.03.28 17:54 | EnergyPlus-Windows-64 8.1.0.008, YMD=2014.03.28 17:54
Input Verification and Results Summary RunPeriod Value | Input Verification and Results Summary | RunPeriod | Value | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN | CENTRAL ADMIN
Input Verification and Results Summary Weather File Value | Input Verification and Results Summary | Weather File | Value | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160 | BRATISLAVA - SVK IWEC Data WMO#=118160
Input Verification and Results Summary Latitude [deg] Value | Input Verification and Results Summary | Latitude [deg] | Value | 48.2 | 48.2 | 48.2 | 48.2 | 48.2
Input Verification and Results Summary Longitude [deg] Value | Input Verification and Results Summary | Longitude [deg] | Value | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Input Verification and Results Summary Elevation [m] Value | Input Verification and Results Summary | Elevation [m] | Value | 130 | 130 | 130 | 130 | 130
Input Verification and Results Summary Time Zone Value | Input Verification and Results Summary | Time Zone | Value | 1 | 1 | 1 | 1 | 1
Input Verification and Results Summary North Axis Angle [deg] Value | Input Verification and Results Summary | North Axis Angle [deg] | Value | 0 | 0 | 0 | 0 | 0
Input Verification and Results Summary Rotation for Appendix G [deg] Value | Input Verification and Results Summary | Rotation for Appendix G [deg] | Value | 0 | 90 | 180 | 270 | 0
Input Verification and Results Summary Hours Simulated [hrs] Value | Input Verification and Results Summary | Hours Simulated [hrs] | Value | 8760 | 8760 | 8760 | 8760 | 8760
LEED Summary Interior Lighting Electric Energy Use [GJ] | LEED Summary | Interior Lighting | Electric Energy Use **[MWh] | 114.0264 | 114.0264 | 114.0264 | 114.0264 | 92.1659
LEED Summary Interior Lighting Electric Demand [W] | LEED Summary | Interior Lighting | Electric Demand [W] | 36681.65 | 36681.65 | 36681.65 | 36681.65 | 29647.92
LEED Summary Interior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Natural Gas Demand [W] | LEED Summary | Interior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Energy Use [GJ] | LEED Summary | Interior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting Additional Demand [W] | LEED Summary | Interior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Energy Use [GJ] | LEED Summary | Exterior Lighting | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Electric Demand [W] | LEED Summary | Exterior Lighting | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Energy Use [GJ] | LEED Summary | Exterior Lighting | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Natural Gas Demand [W] | LEED Summary | Exterior Lighting | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Energy Use [GJ] | LEED Summary | Exterior Lighting | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Exterior Lighting Additional Demand [W] | LEED Summary | Exterior Lighting | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Electric Energy Use [GJ] | LEED Summary | Space Heating | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0.019439
LEED Summary Space Heating Electric Demand [W] | LEED Summary | Space Heating | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Energy Use [GJ] | LEED Summary | Space Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Natural Gas Demand [W] | LEED Summary | Space Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Heating Additional Energy Use [GJ] | LEED Summary | Space Heating | Additional Energy Use **[MWh] | 286.3781 | 286.2421 | 284.3509 | 284.3343 | 187.0726
LEED Summary Space Heating Additional Demand [W] | LEED Summary | Space Heating | Additional Demand [W] | 429046.48 | 428273.52 | 429060.8 | 429760.67 | 396936.18
LEED Summary Space Cooling Electric Energy Use [GJ] | LEED Summary | Space Cooling | Electric Energy Use **[MWh] | 129.6137 | 129.0888 | 129.6998 | 128.7667 | 90.433
LEED Summary Space Cooling Electric Demand [W] | LEED Summary | Space Cooling | Electric Demand [W] | 115779.57 | 114764.18 | 115789.42 | 114251.48 | 143565.02
LEED Summary Space Cooling Natural Gas Energy Use [GJ] | LEED Summary | Space Cooling | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Natural Gas Demand [W] | LEED Summary | Space Cooling | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Energy Use [GJ] | LEED Summary | Space Cooling | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Space Cooling Additional Demand [W] | LEED Summary | Space Cooling | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Electric Energy Use [GJ] | LEED Summary | Pumps | Electric Energy Use **[MWh] | 9.6334 | 9.6001 | 9.6279 | 9.6056 | 1.619
LEED Summary Pumps Electric Demand [W] | LEED Summary | Pumps | Electric Demand [W] | 1100.13 | 1096.37 | 1099.31 | 1096.91 | 440.56
LEED Summary Pumps Natural Gas Energy Use [GJ] | LEED Summary | Pumps | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Natural Gas Demand [W] | LEED Summary | Pumps | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Energy Use [GJ] | LEED Summary | Pumps | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Pumps Additional Demand [W] | LEED Summary | Pumps | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Electric Energy Use [GJ] | LEED Summary | Heat Rejection | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Electric Demand [W] | LEED Summary | Heat Rejection | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Natural Gas Energy Use [GJ] | LEED Summary | Heat Rejection | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Natural Gas Demand [W] | LEED Summary | Heat Rejection | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Energy Use [GJ] | LEED Summary | Heat Rejection | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Heat Rejection Additional Demand [W] | LEED Summary | Heat Rejection | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Electric Energy Use [GJ] | LEED Summary | Fans-Interior | Electric Energy Use **[MWh] | 239.6968 | 238.8609 | 239.7245 | 238.5443 | 123.0267
LEED Summary Fans-Interior Electric Demand [W] | LEED Summary | Fans-Interior | Electric Demand [W] | 37500.18 | 37114.57 | 37680.67 | 37034.46 | 35189.7
LEED Summary Fans-Interior Natural Gas Energy Use [GJ] | LEED Summary | Fans-Interior | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Natural Gas Demand [W] | LEED Summary | Fans-Interior | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Energy Use [GJ] | LEED Summary | Fans-Interior | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Interior Additional Demand [W] | LEED Summary | Fans-Interior | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Electric Demand [W] | LEED Summary | Fans-Parking Garage | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Natural Gas Demand [W] | LEED Summary | Fans-Parking Garage | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Energy Use [GJ] | LEED Summary | Fans-Parking Garage | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Fans-Parking Garage Additional Demand [W] | LEED Summary | Fans-Parking Garage | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Electric Energy Use [GJ] | LEED Summary | Service Water Heating | Electric Energy Use **[MWh] | 81.5355 | 81.5383 | 81.5383 | 81.5383 | 81.5383
LEED Summary Service Water Heating Electric Demand [W] | LEED Summary | Service Water Heating | Electric Demand [W] | 32774.49 | 32774.49 | 32777.64 | 32774.49 | 33771.72
LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | LEED Summary | Service Water Heating | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Natural Gas Demand [W] | LEED Summary | Service Water Heating | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Energy Use [GJ] | LEED Summary | Service Water Heating | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Service Water Heating Additional Demand [W] | LEED Summary | Service Water Heating | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Electric Energy Use [GJ] | LEED Summary | Receptacle Equipment | Electric Energy Use **[MWh] | 222.21 | 222.21 | 222.21 | 222.21 | 221.0242
LEED Summary Receptacle Equipment Electric Demand [W] | LEED Summary | Receptacle Equipment | Electric Demand [W] | 59827.18 | 59827.18 | 59827.18 | 59827.18 | 59451.32
LEED Summary Receptacle Equipment Natural Gas Energy Use [GJ] | LEED Summary | Receptacle Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Natural Gas Demand [W] | LEED Summary | Receptacle Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Energy Use [GJ] | LEED Summary | Receptacle Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Receptacle Equipment Additional Demand [W] | LEED Summary | Receptacle Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Electric Demand [W] | LEED Summary | Interior Lighting (process) | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Natural Gas Demand [W] | LEED Summary | Interior Lighting (process) | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Energy Use [GJ] | LEED Summary | Interior Lighting (process) | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Interior Lighting (process) Additional Demand [W] | LEED Summary | Interior Lighting (process) | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Electric Demand [W] | LEED Summary | Refrigeration Equipment | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Natural Gas Demand [W] | LEED Summary | Refrigeration Equipment | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Energy Use [GJ] | LEED Summary | Refrigeration Equipment | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Refrigeration Equipment Additional Demand [W] | LEED Summary | Refrigeration Equipment | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Energy Use [GJ] | LEED Summary | Cooking | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Electric Demand [W] | LEED Summary | Cooking | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Energy Use [GJ] | LEED Summary | Cooking | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Natural Gas Demand [W] | LEED Summary | Cooking | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Energy Use [GJ] | LEED Summary | Cooking | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Cooking Additional Demand [W] | LEED Summary | Cooking | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Energy Use [GJ] | LEED Summary | Industrial Process | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Electric Demand [W] | LEED Summary | Industrial Process | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Energy Use [GJ] | LEED Summary | Industrial Process | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Natural Gas Demand [W] | LEED Summary | Industrial Process | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Energy Use [GJ] | LEED Summary | Industrial Process | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Industrial Process Additional Demand [W] | LEED Summary | Industrial Process | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Energy Use [GJ] | LEED Summary | Elevators and Escalators | Electric Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Electric Demand [W] | LEED Summary | Elevators and Escalators | Electric Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Energy Use [GJ] | LEED Summary | Elevators and Escalators | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Natural Gas Demand [W] | LEED Summary | Elevators and Escalators | Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Energy Use [GJ] | LEED Summary | Elevators and Escalators | Additional Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Elevators and Escalators Additional Demand [W] | LEED Summary | Elevators and Escalators | Additional Demand [W] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Electric Energy Use [GJ] | LEED Summary | Total Line | Electric Energy Use **[MWh] | 804.383 | 802.9918 | 804.4941 | 802.3558 | 617.4909
LEED Summary Total Line Electric Demand [W] | LEED Summary | Total Line | Electric Demand [W]
LEED Summary Total Line Natural Gas Energy Use [GJ] | LEED Summary | Total Line | Natural Gas Energy Use **[MWh] | 0 | 0 | 0 | 0 | 0
LEED Summary Total Line Natural Gas Demand [W] | LEED Summary | Total Line | Natural Gas Demand [W]
LEED Summary Total Line Additional Energy Use [GJ] | LEED Summary | Total Line | Additional Energy Use **[MWh] | 286.3781 | 286.2421 | 284.3509 | 284.3343 | 187.0726
LEED Summary Total Line Additional Demand [W] | LEED Summary | Total Line | Additional Demand [W]
Annual Building Utility Performance Summary Total Building Area Area [m2] | Annual Building Utility Performance Summary | Total Building Area | Area [m2] | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
Annual Building Utility Performance Summary Net Conditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Net Conditioned Building Area | Area [m2] | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3321.97
Annual Building Utility Performance Summary Unconditioned Building Area Area [m2] | Annual Building Utility Performance Summary | Unconditioned Building Area | Area [m2] | 518.47 | 518.47 | 518.47 | 518.47 | 527.59
Annual Building Utility Performance Summary Heating Electricity [kWh] | Annual Building Utility Performance Summary | Heating | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0.01915
Annual Building Utility Performance Summary Heating Natural Gas [kWh] | Annual Building Utility Performance Summary | Heating | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heating | Additional Fuel *[MWh] | 286.4581 | 286.3225 | 284.4319 | 284.4142 | 187.1244
Annual Building Utility Performance Summary Heating District Cooling [kWh] | Annual Building Utility Performance Summary | Heating | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating District Heating [kWh] | Annual Building Utility Performance Summary | Heating | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heating Water [m3] | Annual Building Utility Performance Summary | Heating | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Electricity [kWh] | Annual Building Utility Performance Summary | Cooling | Electricity *[MWh] | 129.649 | 129.1248 | 129.7362 | 128.8014 | 90.4576
Annual Building Utility Performance Summary Cooling Natural Gas [kWh] | Annual Building Utility Performance Summary | Cooling | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Additional Fuel [kWh] | Annual Building Utility Performance Summary | Cooling | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Cooling [kWh] | Annual Building Utility Performance Summary | Cooling | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling District Heating [kWh] | Annual Building Utility Performance Summary | Cooling | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Cooling Water [m3] | Annual Building Utility Performance Summary | Cooling | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Electricity *[MWh] | 114.0578 | 114.0578 | 114.0578 | 114.0578 | 92.1904
Annual Building Utility Performance Summary Interior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Interior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Lighting Water [m3] | Annual Building Utility Performance Summary | Interior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Lighting | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Lighting Water [m3] | Annual Building Utility Performance Summary | Exterior Lighting | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Electricity *[MWh] | 222.272 | 222.272 | 222.272 | 222.272 | 221.0855
Annual Building Utility Performance Summary Interior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Interior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Interior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Interior Equipment Water [m3] | Annual Building Utility Performance Summary | Interior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Electricity *[MWh] | 7.3476 | 7.3476 | 7.3476 | 7.3476 | 7.3476
Annual Building Utility Performance Summary Exterior Equipment Natural Gas [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Additional Fuel [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Cooling [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment District Heating [kWh] | Annual Building Utility Performance Summary | Exterior Equipment | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Exterior Equipment Water [m3] | Annual Building Utility Performance Summary | Exterior Equipment | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Electricity [kWh] | Annual Building Utility Performance Summary | Fans | Electricity *[MWh] | 239.7634 | 238.9267 | 239.7922 | 238.61 | 123.0599
Annual Building Utility Performance Summary Fans Natural Gas [kWh] | Annual Building Utility Performance Summary | Fans | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Additional Fuel [kWh] | Annual Building Utility Performance Summary | Fans | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Cooling [kWh] | Annual Building Utility Performance Summary | Fans | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans District Heating [kWh] | Annual Building Utility Performance Summary | Fans | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Fans Water [m3] | Annual Building Utility Performance Summary | Fans | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Electricity [kWh] | Annual Building Utility Performance Summary | Pumps | Electricity *[MWh] | 9.6372 | 9.6042 | 9.63 | 9.609 | 1.6194
Annual Building Utility Performance Summary Pumps Natural Gas [kWh] | Annual Building Utility Performance Summary | Pumps | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Additional Fuel [kWh] | Annual Building Utility Performance Summary | Pumps | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Cooling [kWh] | Annual Building Utility Performance Summary | Pumps | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps District Heating [kWh] | Annual Building Utility Performance Summary | Pumps | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Pumps Water [m3] | Annual Building Utility Performance Summary | Pumps | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Electricity [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Rejection | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection District Heating [kWh] | Annual Building Utility Performance Summary | Heat Rejection | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Rejection Water [m3] | Annual Building Utility Performance Summary | Heat Rejection | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Electricity [kWh] | Annual Building Utility Performance Summary | Humidification | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Natural Gas [kWh] | Annual Building Utility Performance Summary | Humidification | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Additional Fuel [kWh] | Annual Building Utility Performance Summary | Humidification | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Cooling [kWh] | Annual Building Utility Performance Summary | Humidification | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification District Heating [kWh] | Annual Building Utility Performance Summary | Humidification | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Humidification Water [m3] | Annual Building Utility Performance Summary | Humidification | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Electricity [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Electricity *[MWh] | 0.323 | 0.323 | 0.323 | 0.323 | 0.323
Annual Building Utility Performance Summary Heat Recovery Natural Gas [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Additional Fuel [kWh] | Annual Building Utility Performance Summary | Heat Recovery | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Cooling [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery District Heating [kWh] | Annual Building Utility Performance Summary | Heat Recovery | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Heat Recovery Water [m3] | Annual Building Utility Performance Summary | Heat Recovery | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Electricity [kWh] | Annual Building Utility Performance Summary | Water Systems | Electricity *[MWh] | 81.5596 | 81.5603 | 81.5607 | 81.5599 | 81.5601
Annual Building Utility Performance Summary Water Systems Natural Gas [kWh] | Annual Building Utility Performance Summary | Water Systems | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Additional Fuel [kWh] | Annual Building Utility Performance Summary | Water Systems | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Cooling [kWh] | Annual Building Utility Performance Summary | Water Systems | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems District Heating [kWh] | Annual Building Utility Performance Summary | Water Systems | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water Systems Water [m3] | Annual Building Utility Performance Summary | Water Systems | Water [m3] | 1263.6 | 1263.6 | 1263.6 | 1263.6 | 1263.6
Annual Building Utility Performance Summary Refrigeration Electricity [kWh] | Annual Building Utility Performance Summary | Refrigeration | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Natural Gas [kWh] | Annual Building Utility Performance Summary | Refrigeration | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Additional Fuel [kWh] | Annual Building Utility Performance Summary | Refrigeration | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Cooling [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration District Heating [kWh] | Annual Building Utility Performance Summary | Refrigeration | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Refrigeration Water [m3] | Annual Building Utility Performance Summary | Refrigeration | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Electricity [kWh] | Annual Building Utility Performance Summary | Generators | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Natural Gas [kWh] | Annual Building Utility Performance Summary | Generators | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Additional Fuel [kWh] | Annual Building Utility Performance Summary | Generators | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Cooling [kWh] | Annual Building Utility Performance Summary | Generators | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators District Heating [kWh] | Annual Building Utility Performance Summary | Generators | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Generators Water [m3] | Annual Building Utility Performance Summary | Generators | Water [m3] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Electricity [kWh] | Annual Building Utility Performance Summary |  | Electricity *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Natural Gas [kWh] | Annual Building Utility Performance Summary |  | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Additional Fuel [kWh] | Annual Building Utility Performance Summary |  | Additional Fuel *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Cooling [kWh] | Annual Building Utility Performance Summary |  | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary District Heating [kWh] | Annual Building Utility Performance Summary |  | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Water [m3] | Annual Building Utility Performance Summary |  | Water [m3]
Annual Building Utility Performance Summary Total End Uses Electricity [kWh] | Annual Building Utility Performance Summary | Total End Uses | Electricity *[MWh] | 804.6095 | 803.2164 | 804.7195 | 802.5807 | 617.6625
Annual Building Utility Performance Summary Total End Uses Natural Gas [kWh] | Annual Building Utility Performance Summary | Total End Uses | Natural Gas *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Additional Fuel [kWh] | Annual Building Utility Performance Summary | Total End Uses | Additional Fuel *[MWh] | 286.4581 | 286.3225 | 284.4319 | 284.4142 | 187.1244
Annual Building Utility Performance Summary Total End Uses District Cooling [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Cooling *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses District Heating [kWh] | Annual Building Utility Performance Summary | Total End Uses | District Heating *[MWh] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Total End Uses Water [m3] | Annual Building Utility Performance Summary | Total End Uses | Water [m3] | 1263.6 | 1263.6 | 1263.6 | 1263.6 | 1263.6
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Heating | Facility [Hours] | 88.5 | 82 | 86 | 86 | 77.5
Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | Annual Building Utility Performance Summary | Time Setpoint Not Met During Occupied Cooling | Facility [Hours] | 0 | 0 | 0 | 0 | 0
Annual Building Utility Performance Summary Time Not Comfortable Based on Simple ASHRAE 55-2004 Facility [Hours] | Annual Building Utility Performance Summary | Time Not Comfortable Based on Simple ASHRAE 55-2004 | Facility [Hours] | 3323.5 | 3327 | 3323 | 3329 | 2791
Input Verification and Results Summary Gross Wall Area [m2] Total | Input Verification and Results Summary | Gross Wall Area [m2] | Total | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Input Verification and Results Summary Gross Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | North (315 to 45 deg) | 405.68 | 663.6 | 412.33 | 662.37 | 405.68
Input Verification and Results Summary Gross Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | East (45 to 135 deg) | 662.37 | 405.68 | 663.6 | 412.33 | 662.37
Input Verification and Results Summary Gross Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | South (135 to 225 deg) | 412.33 | 662.37 | 405.68 | 663.6 | 412.33
Input Verification and Results Summary Gross Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Gross Wall Area [m2] | West (225 to 315 deg) | 663.6 | 412.33 | 662.37 | 405.68 | 663.6
Input Verification and Results Summary Above Ground Wall Area [m2] Total | Input Verification and Results Summary | Above Ground Wall Area [m2] | Total | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Input Verification and Results Summary Above Ground Wall Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | North (315 to 45 deg) | 405.68 | 663.6 | 412.33 | 662.37 | 405.68
Input Verification and Results Summary Above Ground Wall Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | East (45 to 135 deg) | 662.37 | 405.68 | 663.6 | 412.33 | 662.37
Input Verification and Results Summary Above Ground Wall Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | South (135 to 225 deg) | 412.33 | 662.37 | 405.68 | 663.6 | 412.33
Input Verification and Results Summary Above Ground Wall Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Wall Area [m2] | West (225 to 315 deg) | 663.6 | 412.33 | 662.37 | 405.68 | 663.6
Input Verification and Results Summary Window Opening Area [m2] Total | Input Verification and Results Summary | Window Opening Area [m2] | Total | 849.16 | 849.16 | 849.16 | 849.16 | 1208.02
Input Verification and Results Summary Window Opening Area [m2] North (315 to 45 deg) | Input Verification and Results Summary | Window Opening Area [m2] | North (315 to 45 deg) | 160.29 | 261.67 | 162.84 | 264.36 | 234.77
Input Verification and Results Summary Window Opening Area [m2] East (45 to 135 deg) | Input Verification and Results Summary | Window Opening Area [m2] | East (45 to 135 deg) | 264.36 | 160.29 | 261.67 | 162.84 | 370.76
Input Verification and Results Summary Window Opening Area [m2] South (135 to 225 deg) | Input Verification and Results Summary | Window Opening Area [m2] | South (135 to 225 deg) | 162.84 | 264.36 | 160.29 | 261.67 | 254.9
Input Verification and Results Summary Window Opening Area [m2] West (225 to 315 deg) | Input Verification and Results Summary | Window Opening Area [m2] | West (225 to 315 deg) | 261.67 | 162.84 | 264.36 | 160.29 | 347.59
Input Verification and Results Summary Gross Window-Wall Ratio [%] Total | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | Total | 39.61 | 39.61 | 39.61 | 39.61 | 56.34
Input Verification and Results Summary Gross Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | North (315 to 45 deg) | 39.51 | 39.43 | 39.49 | 39.91 | 57.87
Input Verification and Results Summary Gross Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | East (45 to 135 deg) | 39.91 | 39.51 | 39.43 | 39.49 | 55.97
Input Verification and Results Summary Gross Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | South (135 to 225 deg) | 39.49 | 39.91 | 39.51 | 39.43 | 61.82
Input Verification and Results Summary Gross Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Gross Window-Wall Ratio [%] | West (225 to 315 deg) | 39.43 | 39.49 | 39.91 | 39.51 | 52.38
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | Total | 39.61 | 39.61 | 39.61 | 39.61 | 56.34
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] North (315 to 45 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | North (315 to 45 deg) | 39.51 | 39.43 | 39.49 | 39.91 | 57.87
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] East (45 to 135 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | East (45 to 135 deg) | 39.91 | 39.51 | 39.43 | 39.49 | 55.97
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] South (135 to 225 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | South (135 to 225 deg) | 39.49 | 39.91 | 39.51 | 39.43 | 61.82
Input Verification and Results Summary Above Ground Window-Wall Ratio [%] West (225 to 315 deg) | Input Verification and Results Summary | Above Ground Window-Wall Ratio [%] | West (225 to 315 deg) | 39.43 | 39.49 | 39.91 | 39.51 | 52.38
Item Lighting Average LPD [W/m2] | Item | Lighting | Average LPD [W/m2] | 11 | 11 | 11 | 11 | 8.8
Item Envelope Average External U | Item | Envelope | Average External U | 0.58467 | 0.58467 | 0.58467 | 0.58467 | 0.22039
Item Envelope Average Window U | Item | Envelope | Average Window U | 3.082 | 3.082 | 3.082 | 3.082 | 1.573
Zone Summary Total Area m2 | Zone Summary | Total Area | m2 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
Zone Summary Conditioned Area m2 | Zone Summary | Conditioned Area | m2 | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3321.97
Zone Summary Unconditioned Area m2 | Zone Summary | Unconditioned Area | m2 | 518.47 | 518.47 | 518.47 | 518.47 | 527.59
Zone Summary Volume [m3] | Zone Summary | Volume | [m3] | 13000.43 | 13000.43 | 13000.43 | 13000.43 | 13000.43
Zone Summary Gross Wall Area [m2] | Zone Summary | Gross Wall Area | [m2] | 2143.97 | 2143.97 | 2143.97 | 2143.97 | 2143.97
Zone Summary Window Glass Area [m2] | Zone Summary | Window Glass Area | [m2] | 172.56 | 172.56 | 172.56 | 172.56 | 250.51
Zone Summary Avg Lighting LPD W/m2 | Zone Summary | Avg Lighting LPD | W/m2 | 11 | 11 | 11 | 11 | 8.8
Zone Summary Avg Occupancy Density m2/Pers | Zone Summary | Avg Occupancy Density | m2/Pers | 9.46 | 9.46 | 9.46 | 9.46 | 9.37
Zone Summary Avg Plug load W/m2 [-] | Zone Summary | Avg Plug load | W/m2 [-] | 15.5413 | 15.5413 | 15.5413 | 15.5413 | 15.4436
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Heating [GJ] | **[MWh] | 68.498 | 68.187 | 67.3825 | 66.1956 | 25.0771
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Sensible summary | HVAC Input Sensible Air Cooling [GJ] | **[MWh] | -375.7742 | -376.2946 | -378.3513 | -370.945 | -365.4299
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Sensible summary | HVAC Input Heated Surface Heating [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Sensible summary | HVAC Input Cooled Surface Cooling [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | Sensible summary | People Sensible Heat Addition [GJ] | **[MWh] | 73.9126 | 73.8593 | 73.9337 | 74.0862 | 65.1881
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Sensible summary | Lights Sensible Heat Addition [GJ] | **[MWh] | 114.0258 | 114.0258 | 114.0258 | 114.0258 | 92.1645
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Addition [GJ] | **[MWh] | 222.2097 | 222.2097 | 222.2097 | 222.2097 | 221.0237
Sensible summary Window Heat Addition [GJ] [GJ] | Sensible summary | Window Heat Addition [GJ] | **[MWh] | 155.6983 | 155.0905 | 158.2651 | 153.8289 | 238.0178
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Addition [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Sensible summary | Infiltration Heat Addition [GJ] | **[MWh] | 1.7753 | 1.8153 | 1.7678 | 1.8467 | 0.45932
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Addition [GJ] | **[MWh] | 21.5759 | 22.2402 | 22.5495 | 20.8719 | 31.6467
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Sensible summary | Equipment Sensible Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Sensible summary | Window Heat Removal [GJ] | **[MWh] | -142.64 | -141.8905 | -141.908 | -143.1546 | -153.4662
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Sensible summary | Interzone Air Transfer Heat Removal [GJ] | **[MWh] | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Sensible summary | Infiltration Heat Removal [GJ] | **[MWh] | -37.3995 | -37.3448 | -37.3729 | -37.4123 | -55.4903
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Sensible summary | Opaque Surface Conduction and Other Heat Removal [GJ] | **[MWh] | -101.8831 | -101.8987 | -102.5038 | -101.5535 | -99.1892
Item Outdoor Air Summary Average outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Average outdoor air occupied [m3/s] | 9.2421 | 9.2342 | 9.2419 | 9.2295 | 9.2824
Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | Item | Outdoor Air Summary | Minimum outdoor air occupied [m3/s] | 2.486 | 2.4821 | 2.4832 | 2.4846 | 2.5326
Item Envelope Summary Average glass U-Factor [W/m2-K] | Item | Envelope Summary | Average glass U-Factor [W/m2-K] | 3.082 | 3.082 | 3.082 | 3.082 | 1.573
Item Envelope Summary Average glass SHGC | Item | Envelope Summary | Average glass SHGC | 0.428 | 0.428 | 0.428 | 0.428 | 0.472
Item Envelope Summary Average glass visible transmittance | Item | Envelope Summary | Average glass visible transmittance | 0.308 | 0.308 | 0.308 | 0.308 | 0.661
Item HVAC Sizing Summary Total Calculated Design Cooling Load [W] | Item | HVAC Sizing Summary | Total Calculated Design Cooling Load [W] | 175843.98 | 164517.65 | 177260.52 | 164282.85 | 228658.84
Item HVAC Sizing Summary Total User Design Cooling Load [W] | Item | HVAC Sizing Summary | Total User Design Cooling Load [W] | 202220.53 | 189195.32 | 203849.64 | 188925.27 | 228658.84
Item HVAC Sizing Summary Total Calculated Design Cooling Air Flow [m3/s] | Item | HVAC Sizing Summary | Total Calculated Design Cooling Air Flow [m3/s] | 13.067 | 12.226 | 13.172 | 12.21 | 16.989
Item HVAC Sizing Summary Total User Design Cooling Air Flow [m3/s] | Item | HVAC Sizing Summary | Total User Design Cooling Air Flow [m3/s] | 15.68 | 15.03 | 15.786 | 14.96 | 17.544
Item HVAC Sizing Summary Total Calculated Design Heating Load [W] | Item | HVAC Sizing Summary | Total Calculated Design Heating Load [W] | 220984.99 | 220234.48 | 220806.15 | 220320 | 145029.96
Item HVAC Sizing Summary Total User Design Heating Load [W] | Item | HVAC Sizing Summary | Total User Design Heating Load [W] | 276231.15 | 275293.15 | 276007.61 | 275400 | 145029.96
Item HVAC Sizing Summary Total Calculated Design Heating Air Flow [m3/s] | Item | HVAC Sizing Summary | Total Calculated Design Heating Air Flow [m3/s] | 16.568 | 16.51 | 16.554 | 16.522 | 10.877
Item HVAC Sizing Summary Total User Design Heating Air Flow [m3/s] | Item | HVAC Sizing Summary | Total User Design Heating Air Flow [m3/s] | 21.034 | 20.962 | 21.017 | 20.979 | 12.34

## Fuel
KEY
Fuel |  |  | AD | AD | BL | BL | SAVINGS | AD |  |  | BL |  |  |  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4
|  |  | MWh | Full Load Hrs | MWh | Full Load Hrs |  | elec | gas | other | elec | gas | other |  | MWh | MWh | MWh | MWh | MWh
[14 empty] | Input Verification and Results Summary Rotation for Appendix G [deg] Value | 0 | 0 | 90 | 180 | 270 | 0 |  |  | 135
| (TOTAL HOURS) |  |  | 8760 |  | 8760 | [7 empty] | Input Verification and Results Summary Hours Simulated [hrs] Value | 8760 | 8760 | 8760 | 8760 | 8760 | 1 |  |  | 8760
#DIV/0!
| Lighting | elec | 92.1659 | 3108.6786 | 114.0264 | 3108.5406 | 19.17% | 92.1659 | 0 | 0 | 114.0264 | 0 | 0 | LEED Summary Interior Lighting Electric Energy Use [GJ] | 92.1659 | 114.0264 | 114.0264 | 114.0264 | 114.0264 | 0 | 95046047.043 | 76824316.3905 | 114.0264
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Interior Lighting Electric Demand [W] | 29647.92 | 36681.65 | 36681.65 | 36681.65 | 36681.65 | 1 | 3108.6786 | 3108.5406 | 36681.65
| Space heating elec | elec | 0.019439 |  | 0 |  |  | 0.019439 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Energy Use [GJ] | 0.019439 | 0 | 0 | 0 | 0 | 0 | 1.5252e+12 | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating gas | gas | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Space heating other | other | 187.0726 | 471.2914 | 285.3263 | 667.4758 | 34.44% | 0 | 0 | 187.0726 | 0 | 0 | 285.3263 | LEED Summary Space Heating Additional Energy Use [GJ] | 187.0726 | 286.3781 | 286.2421 | 284.3509 | 284.3343 | 0 | 0 | 0 | 285.3263
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Additional Demand [W] | 396936.18 | 429046.48 | 428273.52 | 429060.8 | 429760.67 | 1 | 471.2914 | 667.4758 | 429035.3675
| Space cooling | elec | 90.433 | 629.9097 | 129.2923 | 1119.4868 | 30.06% | 90.433 | 0 | 0 | 129.2923 | 0 | 0 | LEED Summary Space Cooling Electric Energy Use [GJ] | 90.433 | 129.6137 | 129.0888 | 129.6998 | 128.7667 | 0 | 4389284421.1027 | 3310193958.0491 | 129.2923
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Space Cooling Electric Demand [W] | 143565.02 | 115779.57 | 114764.18 | 115789.42 | 114251.48 | 1 | 629.9097 | 1119.4868 | 115146.1625
| Pumps | elec | 1.619 | 3674.8479 | 9.6168 | 8756.6133 | 83.16% | 1.619 | 0 | 0 | 9.6168 | 0 | 0 | LEED Summary Pumps Electric Energy Use [GJ] | 1.619 | 9.6334 | 9.6001 | 9.6279 | 9.6056 | 0 | #REF! | #REF! | 9.6168
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Pumps Electric Demand [W] | 440.56 | 1100.13 | 1096.37 | 1099.31 | 1096.91 | 1 | 3674.8479 | 8756.6133 | 1098.18
| Heat rejection | elec | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Fans | elec | 123.0267 | 3496.0984 | 239.2066 | 6391.8828 | 48.57% | 123.0267 | 0 | 0 | 239.2066 | 0 | 0 | LEED Summary Fans-Interior Electric Energy Use [GJ] | 123.0267 | 239.6968 | 238.8609 | 239.7245 | 238.5443 | 0 | #REF! | #REF! | 239.2066
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Interior Electric Demand [W] | 35189.7 | 37500.18 | 37114.57 | 37680.67 | 37034.46 | 1 | 3496.0984 | 6391.8828 | 37332.47
| Parking fans | elec | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW elec | elec | 81.5383 | 2414.3951 | 81.5376 | 2487.7732 | -0.0008514% | 81.5383 | 0 | 0 | 81.5376 | 0 | 0 | LEED Summary Service Water Heating Electric Energy Use [GJ] | 81.5383 | 81.5355 | 81.5383 | 81.5383 | 81.5383 | 0 | #REF! | #REF! | 81.5376
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Electric Demand [W] | 33771.72 | 32774.49 | 32774.49 | 32777.64 | 32774.49 | 1 | 2414.3951 | 2487.7732 | 32775.2775
| DHW gas | gas | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Natural Gas Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| DHW other | other | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Service Water Heating Additional Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Plug load | elec | 221.0242 | 3717.7342 | 222.21 | 3714.1979 | 0.5336% | 221.0242 | 0 | 0 | 222.21 | 0 | 0 | LEED Summary Receptacle Equipment Electric Energy Use [GJ] | 221.0242 | 222.21 | 222.21 | 222.21 | 222.21 | 0 | 0 | 0 | 222.21
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Receptacle Equipment Electric Demand [W] | 59451.32 | 59827.18 | 59827.18 | 59827.18 | 59827.18 | 1 | 3717.7342 | 3714.1979 | 59827.18
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryInterior Lighting (process)Electric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryRefrigeration EquipmentElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #REF! | #REF! | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryCookingAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessElectric Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessNatural Gas Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
|  |  | #N/A |  | #N/A |  | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Energy Use **[MWh] | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED SummaryIndustrial ProcessAdditional Demand [W] | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Elevators | elec | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Demand [W] | 0 | 0 | 0 | 0 | 0 | 1 | #DIV/0! | #DIV/0! | 0
| Exterior equipment | elec | 7.3476 |  | 7.3476 |  | 0% | 7.3476 | 0 | 0 | 7.3476 | 0 | 0 | Annual Building Utility Performance Summary Exterior Equipment Electricity [kWh] | 7.3476 | 7.3476 | 7.3476 | 7.3476 | 7.3476 | 0 | 0 | 0 | 7.3476
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A
| Total elec |  | 617.4909 |  | 803.5562 |  | 23.16% | 617.174 | 0 | 187.0726 | 803.2372 | 0 | 285.3263 | LEED Summary Total Line Electric Energy Use [GJ] | 617.4909 | 804.383 | 802.9918 | 804.4941 | 802.3558 | 0 | #REF! | #REF! | 803.5562
| Total gas |  | 0 |  | 0 | [8 empty] | LEED Summary Total Line Natural Gas Energy Use [GJ] | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0
| Total other |  | 187.0726 |  | 285.3263 |  | 34.44% | [6 empty] | LEED Summary Total Line Additional Energy Use [GJ] | 187.0726 | 286.3781 | 286.2421 | 284.3509 | 284.3343 | 0 | #REF! | #REF! | 285.3263
#DIV/0!
Calculated process load compliance
| Process loads |  | 228.3718 |  | 229.5576
| Total loads |  | 804.5635 |  | 1088.8825
| Process percent |  | 28.38% |  | 21.08%
Calculated Fuel totals for comparison | [22 empty] | #DIV/0!
Elec | MWh | OK | 617.174 |  | 803.2372 |  | 23.16%
Gas | MWh | N/A | 0 |  | 0
Other Fuel | MWh | OK | 187.0726 |  | 285.3263 |  | 34.44%
Rate
Total elec | USD | 0.19 | 117.2631 |  | 152.6151 |  | 23.16%
Total gas | USD | 0 | 0 |  | 0
Total other | USD | 0.1033 | 19.3246 |  | 29.4742 |  | 34.44%
|  |  | Cost |  | Cost |  | Savings
|  |  | AD kUSD |  | BL kUSD |  | kUSD
| USD |  | 136.5877 |  | 182.0893 |  | 45.5016
[5 empty] | Total |  | 24.99%
Specific values
[13 empty] | Per conditioned area |  | Per total area |  | (Benchmark) |  | Diff (%)
[13 empty] | AD | BL | AD | BL
[11 empty] | Heating kWh/m2 |  | 56.3138 | 85.8907 | 0.0050497 | 0 | 24.63 |  | 487655%
[11 empty] | Cooling kWh/m2 |  | 27.2227 | 38.9204 | 23.4918 | 33.5862 | 29.95 |  | 53.74%
[11 empty] | Ventilation kWh/m2 |  | 37.5216 | 74.6973 | 32.3792 | 64.6368
[11 empty] | DHW kWh/m2 |  | 0 | 0 | 0 | 0 | 0.53 |  | #DIV/0!
[11 empty] | Lighting kWh/m2 |  | 27.7443 | 34.231 | 23.9419 | 29.6206 | 19.91 |  | 16.84%

## Overview
|  |  | Proposed | Baseline AVG |  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4 | Baseline
Simulation
| Rotation |  | 0 | 135 | Input Verification and Results Summary Rotation for Appendix G [deg] Value | 0 | 0 | 90 | 180 | 270 | 135
| Hours |  | 8760 | 8760 | Input Verification and Results Summary Hours Simulated [hrs] Value | 8760 | 8760 | 8760 | 8760 | 8760 | 8760
Setpoints not met | [5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
| Not met heating |  | 77.5 | 85.625 | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Heating Facility [Hours] | 77.5 | 88.5 | 82 | 86 | 86 | 85.625
| Not met cooling |  | 0 | 0 | Annual Building Utility Performance Summary Time Setpoint Not Met During Occupied Cooling Facility [Hours] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
Building envelope | [5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
| WWR |  | 56.34 | 39.61 | Input Verification and Results Summary Above Ground Window-Wall Ratio [%] Total | 56.34 | 39.61 | 39.61 | 39.61 | 39.61 | 39.61
| Average Wall U |  | 0.22039 | 0.58467 | Item Envelope Average External U | 0.22039 | 0.58467 | 0.58467 | 0.58467 | 0.58467 | 0.58467
| Average Window U |  | 1.573 | 3.082 | Item Envelope Average Window U | 1.573 | 3.082 | 3.082 | 3.082 | 3.082 | 3.082
| Glass SHGC |  | 0.472 | 0.428 | Item Envelope Summary Average glass SHGC | 0.472 | 0.428 | 0.428 | 0.428 | 0.428 | 0.428
| Glass vis. Trans |  | 0.661 | 0.308 | Item Envelope Summary Average glass visible transmittance | 0.661 | 0.308 | 0.308 | 0.308 | 0.308 | 0.308
[6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
Areas | [5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
| Total zone area |  | 3849.56 | 3849.56 | Zone Summary Total Area m2 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56 | 3849.56
| Total cond area |  | 3321.97 | 3331.09 | Zone Summary Conditioned Area m2 | 3321.97 | 3331.09 | 3331.09 | 3331.09 | 3331.09 | 3331.09
| Total uncon area |  | 527.59 | 518.47 | Zone Summary Unconditioned Area m2 | 527.59 | 518.47 | 518.47 | 518.47 | 518.47 | 518.47
[6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
Loads | [5 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
| Avg lighting | w/m2 | 8.8 | 11 | Zone Summary Avg Lighting LPD W/m2 | 8.8 | 11 | 11 | 11 | 11 | 11
| Plug loads |  | 15.4436 | 15.5413 | Zone Summary Avg Plug load W/m2 [-] | 15.4436 | 15.5413 | 15.5413 | 15.5413 | 15.5413 | 15.5413
| Occ dens | m2/pers | 9.37 | 9.46 | Zone Summary Avg Occupancy Density m2/Pers | 9.37 | 9.46 | 9.46 | 9.46 | 9.46 | 9.46
| Occupancy |  | 410.8388 | 406.9302 | Occupancy | 410.8388 | 406.9302 | 406.9302 | 406.9302 | 406.9302 | 406.9302
Fresh air
| Average during occupied time | m3/s | 9.2824 | 9.2421 | Item Outdoor Air Summary Average outdoor air occupied [m3/s] | 9.2824 | 9.2421 | 9.2342 | 9.2419 | 9.2295 | 9.2369
| Minimum during occupied time | m3/s | 2.5326 | 2.486 | Item Outdoor Air Summary Minimum outdoor air occupied [m3/s] | 2.5326 | 2.486 | 2.4821 | 2.4832 | 2.4846 | 2.484
| Average fresh air per area | [L/s per m2] | 2.7943 | 2.7745 | Average specifig fresh air [L/s per m2] | 2.7943 | 2.7745 | 2.7721 | 2.7744 | 2.7707 | 2.7729
| Min fresh air per area | [L/s per m2] | 0.76238 | 4.7949 | Min fresh air per area | 0.76238 | 4.7949 | 4.7873 | 4.7894 | 4.7922 | 4.7909
| Avg fresh air per pers | [L/s per pers] | 22.5938 | 22.7117 | Average fresh per person | 22.5938 | 22.7117 | 22.6923 | 22.7114 | 22.6809 | 22.6991
| Min fresh air per pers | [L/s per pers] | 6.1645 | 6.1092 | Min fresh per pers | 6.1645 | 6.1092 | 6.0995 | 6.1022 | 6.1057 | 6.1041
Zone sizing
| Total design cooling | w/m2 | 68.8323 | 52.7887 | Item HVAC Sizing Summary Total Calculated Design Cooling Load [W] | 228658.84 | 175843.98 | 164517.65 | 177260.52 | 164282.85 | 170476.25
| Total user cooling | w/m2 | 68.8323 | 60.707 | Item HVAC Sizing Summary Total User Design Cooling Load [W] | 228658.84 | 202220.53 | 189195.32 | 203849.64 | 188925.27 | 196047.69
| Sizing |  | 1 | 1.15 |  | #N/A | #N/A | #N/A | #N/A | #N/A
| Total design heating | w/m2 | 43.6578 | 66.3401 | Item HVAC Sizing Summary Total Calculated Design Heating Load [W] | 145029.96 | 220984.99 | 220234.48 | 220806.15 | 220320 | 220586.405
| Total user heating | w/m2 | 43.6578 | 82.9252 | Item HVAC Sizing Summary Total User Design Heating Load [W] | 145029.96 | 276231.15 | 275293.15 | 276007.61 | 275400 | 275732.9775
| Sizing |  | 1 | 1.25 | Item HVAC Sizing Summary Total Calculated Design Cooling Air Flow [m3/s] | 16.989 | 13.067 | 12.226 | 13.172 | 12.21 | 12.6688
[5 empty] | Item HVAC Sizing Summary Total User Design Cooling Air Flow [m3/s] | 17.544 | 15.68 | 15.03 | 15.786 | 14.96 | 15.364
[5 empty] | Item HVAC Sizing Summary Total Calculated Design Heating Air Flow [m3/s] | 10.877 | 16.568 | 16.51 | 16.554 | 16.522 | 16.5385
[5 empty] | Item HVAC Sizing Summary Total User Design Heating Air Flow [m3/s] | 12.34 | 21.034 | 20.962 | 21.017 | 20.979 | 20.998
OBSELETE |  |  |  |  | Item Lighting Average LPD [W/m2] | 8.8 | 11 | 11 | 11 | 11 | 11
| Glass U |  | 1.573 | 3.082 | Item Envelope Summary Average glass U-Factor [W/m2-K] | 1.573 | 3.082 | 3.082 | 3.082 | 3.082 | 3.082

## Sensible breakdown
|  | Proposed | Baseline | Baseline2 | Baseline3 | Baseline4 | Baseline
|  | MWh | MWh | MWh | MWh | MWh
Sensible summary HVAC Input Sensible Air Heating [GJ] [GJ] | Air heating | 25.0771 | 68.498 | 68.187 | 67.3825 | 66.1956 | 67.5658
Sensible summary HVAC Input Sensible Air Cooling [GJ] [GJ] | Air cooling | -365.4299 | -375.7742 | -376.2946 | -378.3513 | -370.945 | -375.3413
Sensible summary HVAC Input Heated Surface Heating [GJ] [GJ] | Surface heating | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary HVAC Input Cooled Surface Cooling [GJ] [GJ] | Surface cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary People Sensible Heat Addition [GJ] [GJ] | People | 65.1881 | 73.9126 | 73.8593 | 73.9337 | 74.0862 | 73.948
Sensible summary Lights Sensible Heat Addition [GJ] [GJ] | Lights | 92.1645 | 114.0258 | 114.0258 | 114.0258 | 114.0258 | 114.0258
Sensible summary Equipment Sensible Heat Addition [GJ] [GJ] | Equipment | 221.0237 | 222.2097 | 222.2097 | 222.2097 | 222.2097 | 222.2097
Sensible summary Window Heat Addition [GJ] [GJ] | Window heat | 238.0178 | 155.6983 | 155.0905 | 158.2651 | 153.8289 | 155.7207
Sensible summary Interzone Air Transfer Heat Addition [GJ] [GJ] | Interzone heat | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Addition [GJ] [GJ] | Infiltration heat | 0.45932 | 1.7753 | 1.8153 | 1.7678 | 1.8467 | 1.8013
Sensible summary Opaque Surface Conduction and Other Heat Addition [GJ] [GJ] | Surface condution heat | 31.6467 | 21.5759 | 22.2402 | 22.5495 | 20.8719 | 21.8094
Sensible summary Equipment Sensible Heat Removal [GJ] [GJ] | Equipment cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Window Heat Removal [GJ] [GJ] | Window cooling | -153.4662 | -142.64 | -141.8905 | -141.908 | -143.1546 | -142.3983
Sensible summary Interzone Air Transfer Heat Removal [GJ] [GJ] | Interzone cooling | 0 | 0 | 0 | 0 | 0 | 0
Sensible summary Infiltration Heat Removal [GJ] [GJ] | Infiltration cooling | -55.4903 | -37.3995 | -37.3448 | -37.3729 | -37.4123 | -37.3824
Sensible summary Opaque Surface Conduction and Other Heat Removal [GJ] [GJ] | Surface cooling | -99.1892 | -101.8831 | -101.8987 | -102.5038 | -101.5535 | -101.9598

## LEED Table
[8 empty] | Baseline | Baseline2 | Baseline3 | Baseline4 | Proposed
MWh
Lighting | 114026.397 | 114026.397 | 114026.397 | 114026.397 | 92165.853 | LEED Summary Interior Lighting Electric Energy Use [GJ] | Input Verification and Results Summary Rotation for Appendix G [deg] Value | 114.0264 | 114.0264 | 114.0264 | 114.0264 | 92.1659
| 36.6817 | 36.6817 | 36.6817 | 36.6817 | 29.6479 | LEED Summary Interior Lighting Electric Demand [W] |  | 36681.65 | 36681.65 | 36681.65 | 36681.65 | 29647.92
Ext. lighting | [7 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | #N/A | #N/A | #N/A | #N/A | #N/A
Heating | 0 | 0 | 0 | 0 | 19.439 | LEED Summary Space Heating Electric Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0.019439
| 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Electric Demand [W] |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | LEED Summary Space Heating Natural Gas Demand [W] |  | 0 | 0 | 0 | 0 | 0
| 286378.125 | 286242.052 | 284350.915 | 284334.253 | 187072.605 | LEED Summary Space Heating Additional Energy Use [GJ] |  | 286.3781 | 286.2421 | 284.3509 | 284.3343 | 187.0726
| 429.0465 | 428.2735 | 429.0608 | 429.7607 | 396.9362 | LEED Summary Space Heating Additional Demand [W] |  | 429046.48 | 428273.52 | 429060.8 | 429760.67 | 396936.18
Cooling | 129613.698 | 129088.845 | 129699.785 | 128766.713 | 90433.005 | LEED Summary Space Cooling Electric Energy Use [GJ] |  | 129.6137 | 129.0888 | 129.6998 | 128.7667 | 90.433
| 115.7796 | 114.7642 | 115.7894 | 114.2515 | 143.565 | LEED Summary Space Cooling Electric Demand [W] |  | 115779.57 | 114764.18 | 115789.42 | 114251.48 | 143565.02
Pumps | 9633.413 | 9600.089 | 9627.859 | 9605.643 | 1618.991 | LEED Summary Pumps Electric Energy Use [GJ] |  | 9.6334 | 9.6001 | 9.6279 | 9.6056 | 1.619
| 1.1001 | 1.0964 | 1.0993 | 1.0969 | 0.44056 | LEED Summary Pumps Electric Demand [W] |  | 1100.13 | 1096.37 | 1099.31 | 1096.91 | 440.56
Heat rej | 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | LEED Summary Heat Rejection Electric Demand [W] |  | 0 | 0 | 0 | 0 | 0
Fans | 239696.755 | 238860.878 | 239724.525 | 238544.3 | 123026.654 | LEED Summary Fans-Interior Electric Energy Use [GJ] |  | 239.6968 | 238.8609 | 239.7245 | 238.5443 | 123.0267
| 37.5002 | 37.1146 | 37.6807 | 37.0345 | 35.1897 | LEED Summary Fans-Interior Electric Demand [W] |  | 37500.18 | 37114.57 | 37680.67 | 37034.46 | 35189.7
Fans parking | 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | LEED Summary Fans-Parking Garage Electric Demand [W] |  | 0 | 0 | 0 | 0 | 0
DHW | 81535.497 | 81538.274 | 81538.274 | 81538.274 | 81538.274 | LEED Summary Service Water Heating Electric Energy Use [GJ] |  | 81.5355 | 81.5383 | 81.5383 | 81.5383 | 81.5383
| 32.7745 | 32.7745 | 32.7776 | 32.7745 | 33.7717 | LEED Summary Service Water Heating Electric Demand [W] |  | 32774.49 | 32774.49 | 32777.64 | 32774.49 | 33771.72
[6 empty] | LEED Summary Service Water Heating Natural Gas Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
[6 empty] | LEED Summary Service Water Heating Natural Gas Demand [W] |  | 0 | 0 | 0 | 0 | 0
[6 empty] | LEED Summary Service Water Heating Additional Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
[6 empty] | LEED Summary Service Water Heating Additional Demand [W] |  | 0 | 0 | 0 | 0 | 0
Plug load | 222209.986 | 222209.986 | 222209.986 | 222209.986 | 221024.207 | LEED Summary Receptacle Equipment Electric Energy Use [GJ] |  | 222.21 | 222.21 | 222.21 | 222.21 | 221.0242
| 59.8272 | 59.8272 | 59.8272 | 59.8272 | 59.4513 | LEED Summary Receptacle Equipment Electric Demand [W] |  | 59827.18 | 59827.18 | 59827.18 | 59827.18 | 59451.32
[6 empty] | LEED SummaryInterior Lighting (process)Electric Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryInterior Lighting (process)Electric Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryRefrigeration EquipmentElectric Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryRefrigeration EquipmentElectric Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingElectric Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingElectric Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingNatural Gas Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingNatural Gas Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingAdditional Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryCookingAdditional Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessElectric Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessElectric Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessNatural Gas Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessNatural Gas Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessAdditional Energy Use **[MWh] |  | #N/A | #N/A | #N/A | #N/A | #N/A
[6 empty] | LEED SummaryIndustrial ProcessAdditional Demand [W] |  | #N/A | #N/A | #N/A | #N/A | #N/A
Elevators | 0 | 0 | 0 | 0 | 0 | LEED Summary Elevators and Escalators Electric Energy Use [GJ] |  | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 |  | LEED Summary Elevators and Escalators Electric Demand [W] |  | 0 | 0 | 0 | 0 | 0

## <Testing>
Key | Column | Value
LEED Summary Space Heating Additional Energy Use [GJ] | Baseline3 | 284.3509
| Header text | Returns column number of matched text
Test MATCH | Baseline | 5
Row text
#N/A